ACTIVITY 37:  Characteristics of Series Circuits.

Introduction

A series circuit consists of resistors connected to a voltage source in such a way that there is a single conducting path available for current.  This means that the total current must flow through each resistor in turn.  The equivalent resistance of a series circuit is equal to the sum of the individual resistances:

In this exercise, a variety of resistors, a power supply, and a current and voltage probe will be used to investigate the characteristics of series circuits.

Equipment Required

•	CBL unit

•	TI-82 graphics calculator with a unit-to-unit link cable

•	Vernier current and voltage probe (CV-DIN) with CBL DIN adapter

•	DC voltage source (1.5 volt batteries)

•	Assorted resistors (5, 10, and 25 ohms)

•	Connecting wires

•	Christmas tree bulbs may be used in place of resistors.

Program Listing

This experiment requires that you download the CIRCUIT program into your TI-82 calculator.

Equipment Setup Procedure

1.	Connect the CBL unit to the TI-82 calculator with the unit-to-unit link cable using the I/O ports located on the bottom edge of each unit.  Press the cable ends in firmly.

2.	Connect the Vernier dual channel amplifier leads marked 1 and 2 to the Channel 1 (CH1) and Channel 2 (CH2) inputs on the top edge of the CBL unit.

3.	Connect the Vernier current probe to the probe 1 port on the amplifier box.

4.	Connect the Vernier voltage probe to the probe 2 port on the amplifier box.

5.	Turn on the CBL unit and the calculator.

The CBL system is now ready to receive commands from the calculator.

Instructions

1.	Connect one resister inseries with an open switch and one battery.  Connect the current probe in series with the resistors and place the voltage probe in parallel across the resistor  as shown in the setup diagram.  Leave the switch open until the wiring connections have been approved by your instructor.

1.	Arrange two resistors in series with each other, and then connect them in series with an open switch and voltage source.  Connect the current probe in series with the resistors and place the voltage probe in parallel across the resistor combination as shown in the setup diagram.  Leave the switch open until the wiring connections have been approved by your instructor.

2.	After your circuit has been checked, start the CIRCUIT program on the TI-82 calculator.  If you are using a variable voltage source, adjust the knob until the meter reads about six volts.  With the switch closed, press “ENTER” to read the circuit voltage and current.

3.	Record the voltage and current values that appear on the calculator display in your lab notebook as V and I, respectively.  Also, make note of the resistance value for each individual resistor printed on its side.  Organize this data in a table.

4.	Without disassembling the entire circuit, remove the resistor combination from the circuit and replace it with a different combination consisting of two or more resistors connected in series.  Repeat the experimental procedure outlined above and record all relevant data in your lab notebook, including the voltage across the resistor combination and the current of the circuit.  Be sure to note the resistance value printed on the side of each resistor.

5.	Complete at least three trials, using different resistor combinations for each.

6.	For any one of the series circuits you constructed during this experiment, find the voltage drop across each resistor, and determine the current flowing into each individual resistor.

a)	Disconnect the current probe from the circuit.  With the CIRCUIT program running, touch the lead wires of the voltage probe to the ends of each individual resistor, close the switch, and then press “ENTER” to take a voltage reading.  Record the voltage reading in your notebook.

b)	Disconnect the voltage probe.  Move the current probe from position to position, connecting it in series between resistors.  In each case, start the CIRCUIT program, close the switch, and press “ENTER” to take a current reading.  Record the current readings in your notebook.

Analysis

1.	For each trial, compute the equivalent resistance of the resistor combination using the data collected in this experiment and the relationship V = IR.  Record these values in a table.

2.	Compute the equivalent resistance for each resistor combination using the formula given in the introduction section and compare this value with the value found in Step 1. Compute a percentage error in each case.

3.	Based on your observations, how are the voltage drops across individual resistors related to the total voltage drop across the series combination?  How is the cur-rent in each resistor related to the current through the combination?

4.	Use your results from this experiment to summarize (perhaps in a table) voltage, current, and equivalent resistance characteristics for series circuits.

1	14

ACTIVITY 38:

Characteristics of Parallel Circuits

Introduction

When resistors are connected in parallel, more than one conducting path is available for the current.  In this case, the total circuit current is equal to the sum of the branch currents and the equivalent resistance is determined by:

Re R1 R2 R3                  Rn

In this exercise, you will use a current and voltage probe to investigate the characteristics of combinations of resistors connected in parallel.

Equipment Required

•	CBL unit

•	TI-82 calculator with a unit-to-unit link cable

•	Vernier current and voltage probe (CV-DIN) with CBL DIN adapter

•	DC voltage source (about 1.5 volts)

•	Assorted resistors (between 10 and 100 ohms)

•	Switch

•	Connecting wires

Program Listing

This experiment requires that you download or enter the CIRCUIT program, listed in the appendix and contained on the diskette, into your TI-82 calculator.

Equipment Setup Procedure

1.	Connect the CBL unit to the TI-82 calculator

with the unit-to-unit link cable using the I/0                                        power Supply

ports located on the bottom edge of each unit.

Press the cable ends in firmly.

2.	Connect the Vernier dual channel amplifier leads marked 1 and 2 to the Channel 1 (CHl) and Channel 2 (CH2) inputs on the top edge

of the CBL unit.                                                      amplifier

3.	Connect the Vernier current probe to the probe 1 port on the amplifier box.

4.	Connect the Vernier voltage probe to the		pro

probe 2 port on the amplifier box.

5.	Turn on the CBL unit and the calculator.	Equipment Setup

The CBL system is now ready to receive

commands from the calculator.

Exploring Physics and Math with the CBL  TM  System AO                                                               115

Instructions

1.	Arrange two resistors in parallel with each other, and then connect them in series with an open switch and voltage source.  Connect the current probe in series with the resistors and place the voltage probe in parallel across the resistor combination as shown in the setup diagram.  Leave the switch open until the Wiring connections have been approved by your instructor.

2.	After your circuit has been checked, start the CIRCUIT program on the TI-82 calculator.  If you are using a variable voltage source, adjust the knob until the meter reads about 1.5 volts.  With the switch closed, press “ENTER” to read the circuit voltage and current.

3.	Record the voltage and current values that appear on the TI-82 display in your lab notebook as V and 1, respectively.  Also, make note of the resistance value for each individual resistor printed on its side.  Organize this data in a table.

4.	Without disassembling the entire circuit, remove the resistor combination from the circuit and replace it with a different combination consisting of two or more resistors wired in parallel.  Repeat the experimental procedure outlined above and record all relevant data in your lab notebook, including the voltage across the resistor combination and the circuit current.  Be sure to note the resistance value printed on the side of each resistor.

5.	Complete at least three trials, using different resistor combinations for each trial.

6.	For any one of the parallel circuits you constructed during this experiment, find the voltage drop across each resistor, and then determine the current flowing into each individual resistor

a)	Disconnect the current probe from the circuit.  With the CIRCUIT program running, touch the lead wires of the voltage probe to the ends of each individual resistor.  Close the switch and press “ENTER” to take a reading.  Record the voltage reading in your notebook.

b)	Disconnect the voltage probe.  Move the current probe from position to position, connecting it in series between each resistor and the branch point.  In each case, start the CIRCUIT program, close the switch, and press “ENTER” to take a reading.  Record the current readings in your notebook.

Analysis

1.	For each trial, compute the equivalent resistance of the resistor combination using the data collected in this experiment and the relationship V = IR.  Record these values in a table.

2.	Compute the equivalent resistance for each combination, using the formula given in the introduction section, and compare this value with the value found in Step 1. Compute a percentage error in each case.

3.	Based on your observations, how are the voltage drops across individual resistors related to the total voltage drop across the parallel combination?  How is the current in each resistor related to the current through the combination?

4.	Use your results from this experiment to summarize (perhaps in a table) voltage, current, and equivalent resistance characteristics for parallel circuits.

116                                                         Exploring Physics and Math with the CBL System JO