A.	Main Control and Input Ports

1.	The first task when using a meter is to determine what is to be measured. The second task is to plug the red and black leads into the meter. The third task is to rotate the Function Range Switch to the appropriate region. The fourth task is to connect the meter and make measurements.

2.	The black lead is plugged into the Common Jack. If you are measuring voltage (V), small currents (mA) or resistance (ohms), the red lead is plugged into the V, Ω, mA Jack. The 10 A Jack is used when the current will be greater than 0.2 amp.

3.	Function Range Switch is always set to off unless a measurement is being made.  When making a measurement it is rotated to the appropriate region. As this is a cheap meter it must be rotated to the correct setting within the region.  More expensive meters have the ability to make automatic readings within a given region. There is a fuse inside the meter to protect it when measuring current.

B.	Setting the Meter to Make a Measurement

1.	To measure (D.C.) current the Function Range Switch is moved to the DC Amps (DCA) region. There are four separate settings within this region. They are: 2000 µ (0.002 A), 20 m (0.02 A), 200 m (0.2 A) and 10A.  These values represent the maximum reading that can be measured when the switch is set on that setting. To protect the meter when measuring DC current, the Function Range Switch is set to the maximum value setting before the final connection that activates the meter. In this case it would be the 10 A setting. (Red lead inserted into 10 A Jack.) If there is no reading, then the red lead is plugged into the V, Ω, mA Jack and the Function Range Switch is rotated to the (0.200 m) setting. Stop if no reading is observed and contact your instructor.

2.	To measure (D.C.) voltage the Function Range Switch is moved to the DC Volts (DCV) region. There are five separate settings within this region. They are: 1000 (V), 200 (V), 20 (V), 2000m  (2 V) and 200m  (0.2 V). The Function Range Switch is first set to the highest reading 1000 before the final connection that activates the meter. Once the meter is active, the Function Range Switch is rotated to the next lower setting until a reading is seen in the window. The voltmeter is connected in parallel across the component being measured. Thus the complete circuit is connected before the meter is connected.

Measurements will be made in circuits powered by either one or two D-cell batteries connected in series. Thus the maximum voltage measured will be 3 volts. Knowing this the Function Range Switch is first set to the 20 value and rotated to a lower setting until a reading is seen in the window.

3.	The Ω region measures the resistance of an object. There are five separate regions: 2000 K (2,000,000 ohms), 200 K (200,000 ohms), 20 K (20,000 ohms), 2000 ohms and 200 ohms. When measuring resistance there is no danger of damaging the meter. Thus the Function Range Switch can be set to any ohm setting before beginning to make a measurement. Once the meter is connected to the resistor, the switch is adjusted until a reading is seen in the meter window.

4.	Another region to be used is the region to the right of the Ω region, which will be used to determine if there is continuity (a complete path in a component). The A.C. Volt region will not be used as the power source will be DC batteries.

B.	Using the Meter to Measure the resistance of a resistor.

1.	Rotate the meter dial in the resistance range until a reading is obtained.

2.	Connect the meter leads, one to each end of a resistor.

3.	Adjust the setting until a reading appears in the meter window. Record the reading.

4.	When the reading is determined, rotate the meter dial to off.

C.	Using the Meter as an Ammeter (to Measure DC Current)

1.	Connect one wire of a Christmas tree bulb to a 1.5 volt battery. Connect the other wire of the bulb to one terminal of the ammeter. Set the Function Range Switch to the 10A setting in the DCA region with red  lead plugged into the 10 A Jack. Finally connect the terminal of the ammeter to the battery. The bulb should light. A current reading should be seen in the meter window.

2.	Record the reading in the window with the unit of the dial setting. If the unit is not amps, convert your reading to amps.

I = _________________ = _______________ amps

The meter (being used as an ammeter) is connected in series with the battery and the bulb. It will provide the measurement of the current in amps (amp = coulomb/sec = charge/time) passing through the ammeter in that part of the circuit.

3.	Reverse the terminals of the meter. Anything different Record your findings.

4.	Disconnect the meter wires and turn the meter off.

D.	Using the Meter as a Voltmeter (to Measure DC Voltage)

1.	Connect a resistor (10 ohms or greater) to a battery to light the bulb as shown in the diagram.

2.	Rotate the dial to the 20 scale setting in the DCV Region. Then connect the terminals of the meter to the circuit as shown. Rotate the switch to the setting that gives a value in the meter window.

3.	Record the reading in the window with the unit of the dial setting. If the unit is not in volts, convert your reading to volts.

V = _________________  = _______________ volts

The voltmeter is always connected in parallel with a component in the circuit. This being the case, the circuit is constructed without the meter. The terminals of the meter are then placed across the desired component when a measurement is to be made.

4.	Disconnect the meter wires and then turn off the meter.

E.	Measuring the Health of a Battery

1. A battery provides energy to appliances into which it is installed or connected to. It possesses potential chemical energy. This potential is identified by the unit of volt. A volt is a Joule/coulomb which represents energy/charge. The battery when operating in a circuit is providing energy to electrons which travel in the circuit to the object, in this case a light bulb where the energy is converted into light.

2.	To determine the health of a battery we wish to measure its voltage. We know that the voltmeter will do this. Examine the following circuit.

Will this give the information we seek?

The answer is NO! NO! NO!  Why? The meter is connected in series with the battery. A voltmeter is designed to work correctly when connected in parallel to the circuit.

3.	The circuit shown below shows the voltmeter connected in parallel across the battery and thus will give a proper reading in volts of the condition of the battery.

4.	There are meters that do this. A meter is shown measuring a AAA battery. A second picture shows a 9-volt battery in position to be measured. This meter will report the condition as: ok (green), weak (yellow) or in poor condition (red).

The meter shown can measure 1.5 volt batteries as D-cells, AA-cells and AAA-cells as well as 9 volt batteries,  There is an opening in the bottom where button batteries (shown) can be measured.

F.	Electrical Information

Charge (Q)

Energy (E)

Resistance (R)

Potential Difference (V)

Current (I)

Power (P)

We purchase electricity in units of kilowatt-hr

This says we are purchasing electrical energy.

# Text boxes

bulb

V

A

V

V

V

V

D.C. Volts

D.C. Amps

Resistance

A.C. Volts

Common Jack

10 A Jack

V, Ω, mA Jack

Function Range Switch

Switch